## HV calibration
HV B (positive) | HV (kV) | reading | Coarse Gain
Amplifier at x33 | 0.407 |  | 13
Time (sec) | Counts | kV | Counts
1 | 2941 | 0.45 | 2941
1 | 2900 | 0.43 | 2900
1 | 2467 | 0.409 | 2467
1 | 2154 | 0.389 | 2154
1 | 1955 | 0.371 | 1955
| 1954 | 0.354 | 1954
| 1960 | 0.334 | 1960
kV
plateau | 0.44

## Sheet2
Filter | No filter | no filter |  |  |  | NaCl | 45 | New parameters | .384 kV |  | LiF | 3:00min | time step | 1:30 min
Source | No source | NaCl |  |  |  | Filter |  | none | Ni | none | angle | nofilter | ni filter
Angle | Counts | Counts |  |  |  | Source |  | NaCl |  |  | 34
0 | 90572 |  |  | NaCl |  | Angle | no source | counts (true) | pos erro | counts (filt) | 35 | 392 | 81 | 310 | 45
12 | 28 | 456 | angle |  | 13 | 26 | 20 | 126 | 11.225 | 21 | 36 | 318 | 62 | 258 | 56
14 | 27 | 877 | 28 | 444 | 13.5 | 27 | 37 | 142 | 11.9164 | 32 | 37 | 277 | 76 | 243 | 64
16 | 19 | 973 | 29 | 1215 | 14 | 28 | 33 | 119 | 10.9087 | 34 | 38 | 266 | 58 | 286 | 80
18 | 31 | 619 | 30 | 2740 | 14.5 | 29 | 61 | 116 | 10.7703 | 50 | 39 | 727 | 70 | 857 | 121
20 | 21 | 540 | 31 | 952 | 15 | 30 | 67 | 542 | 23.2809 | 206 | 40 | 754 | 92 | 395 | 96
22 | 19 | 387 | 32 | 606 | 15.5 | 31 | 66 | 208 | 14.4222 | 74 | 41 | 268 | 165 | 234 | 102
24 | 15 | 299 | 33 | 584 | 16 | 32 | 65 | 100 | 10 | 50 | 42 | 245 | 170 | 247 | 128
26 | 20 | 819 | 34 | 526 | 16.5 | 33 | 65 | 95 | 9.7468 | 41 | 43 | 309 | 222 | 1138 | 481
28 | 46 | 389 |  |  | 17 | 34 | 55 | 83 | 9.1104 | 33 | 44 | 1588 |  | 1247 | 778
30 | 67 | 1772 | 60 | 478 | [6 empty] | 45 | 420 |  | 266 | 142
32 | 95 | 302 | 61 | 467 | 30.5 | 61 | 9 | 43 | 6.5574 | 13 | 46 | 236 |  | 217 | 99
34 | 89 | 315 | 62 | 568 | 31 | 62 | 19 | 32 | 5.6569 | 18 | 47 | 250 |  | 197 | 100
36 | 46 | 344 | 63 | 459 | 31.5 | 63 | 6 | 28 | 5.2915 | 23 | 48
38 | 50 | 287 | 64 | 800 | 32 | 64 | 13 | 56 | 7.4833 | 26
40 | 28 | 196 | 65 | 458 | 32.5 | 65 | 10 | 82 | 9.0554 | 24 | 79
42 | 49 | 281 | 66 | 492 | 33 | 66 | 15 | 57 | 7.5498 | 20 | 80
44 | 43 | 208 |  |  | 33.5 | 67 | 9 | 37 | 6.0828 | 19 | 81
46 | 38 | 223 |  |  | 34 | 68 | 9 | 29 | 5.3852 | 12 | 82 | 78 | 109
48 | 71 | 205 |  |  | 34.5 | 69 | 5 | 30 | 5.4772 | 14 | 83 | 64 | 71
50 | 62 | 125 | [8 empty] | 84 | 70 | 72
52 | 41 | 158 | [8 empty] | 85 | 80 | 66
54 | 56 | 136 | [8 empty] | 86 | 74 | 96
56 | 47 | 154 | [8 empty] | 87 | 68 | 122
58 | 60 | 192 | [8 empty] | 88 | 65 | 73
60 | 34 | 146 | [8 empty] | 89 | 70 | 70
62 | 72 | 133
64 | 65 | 421
66 | 28 | 154
68 | 35 | 74
70 | 44 | 132
72 | 58 | 76
74 | 59 | 208
76 | 46 | 281
78 | 63 | 357
80 | 91 | 281
82 | 81 | 260
84 | 132 | 226
86 | 115 | 325
88 | 164 | 531
90 | 153 | 556
92 | 123 | 662
94 | 143 | 491
96 | 151 | 737